| Company: |  |  | Inspection date: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  | Location: |  |  |  |
| Inspected by: |  |  |  |  |  |  |
| S.N | 1.1. Electrical cord, plug equipment and Power tool Safety Checklist |  |  | Compliance |  | Findings |
|  |  |  |  | Y | N |  |
| 1 | Are flexible cords free from damaged insulation, taped repairs, crimps, crushing and UV damage? [OSHA inspection points] |  |  |  |  |  |
| 2 | Are flexible cords used on the job site of the properly rated and listed to support the load required? |  |  |  |  |  |
| 3 | Are flexible cords used on the job site all equipped with grounded three-prong plugs or receptacles? |  |  |  |  |  |
| 4 | Are flexible cord sets and portable receptacles NRTL tested and approved or fabricated and tested by a licensed electrician? |  |  |  |  |  |
| 5 | Does all Electrical wires and cables extensions hangs overhead? |  |  |  |  |  |
| 6 | Is all temporary electrical power equipment exposed to the outdoors properly rated? |  |  |  |  |  |
| 7 | Are only Qualified Electrical Workers (as defined by OSHA and NFPA) allowed to install, connect and repair temporary wiring installations? |  |  |  |  |  |
| 8 | Is there a record of monthly inspections of all cord and plug-type tools and equipment used on the job site? [ Power Tool Safety Tips] |  |  |  |  |  |
| 9 | Weather all electrical equipment’s earthed already? |  |  |  |  |  |
| 10 | Are there virtual connecting, overloading, overheating, or discoloring appearances existed on switch, plug or contactor and related terminals in the distribution box? |  |  |  |  |  |
| 11 | Is the wiring of distribution box accorded with safety standards? |  |  |  |  |  |
| 12 | Is the load accorded with safety standards in distribution box? |  |  |  |  |  |
| 13 | Is there any available firefighting facilities surrounding? |  |  |  |  |  |
| 14 | Are the common electrical warning signs available on the right place? |  |  |  |  |  |
| 15 | Are all hand tools inspected for damage before each use, if damaged taken out of service? |  |  |  |  |  |

| Company: |  |  |  | Inspection date: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  |  | Location: |  |  |  |
| Inspected by: |  |  |  |  |  |  |  |
| S.N | 1.2. Fall Protection Safety Checklist |  |  |  | Compliance |  | Findings |
|  |  |  |  |  | Y | N |  |
| 1 | Is there a written fall protection program based on analysis of the company’s usual work tasks and hazards? [OSHA Fall Protection Standards] |  |  |  |  |  |  |
| 2 | Is fall protection equipment selected based on a hazard analysis of the planned work, known hazards and specific work location? |  |  |  |  |  |  |
| 3 | Are fall protection system inspected in accordance with the requirements outlined the fall protection program? |  |  |  |  |  |  |
| 4 | Is fall protection equipment stored and maintained in accordance with the requirements outlined in the fall protection program? |  |  |  |  |  |  |
| 5 | Are aerial lifts inspected prior to use and maintained in accordance with the manufacturer’s recommendations for safe use of the equipment? |  |  |  |  |  |  |
| 6 | Ladders |  | Scaffolds |  |  |  |  |
|  | - Are employees using the ladders maintaining 3-points of contact/control while climbing the ladder? |  | - Are scaffolds used at the work site designed and erected by a competent person? |  |  |  |  |
|  | - Are workers at the edge of the well, pit shaft and similar excavation 6 feet deep or more, protected from falling by guardrail systems, fences, or barricades, personal fall protection equipment or covers? |  | - Are scaffolds erected on level footings capable of supporting the intended loaded; and legs, poles, frames, and uprights bear on base plates and mud sills? |  |  |  |  |
|  | - Are ladders properly stored when not in use? |  | - Are scaffolds used at work site inspected and tagged after erection, and at least every 7 days thereafter by a competent person? |  |  |  |  |
|  | - Are ladders inspected frequently and are those ladders that have developed defects withdrawn from service for repair or destruction and tagged or marked as “dangerous, Do not Use?” |  | - Are mid-rails installed approximately halfway between the top-rail and the platform surface when using guardrails? |  |  |  |  |
|  | - Are employees trained about proper ladder use? |  | - Are supported scaffold platforms fully planked and decked with scaffold-grade material? |  |  |  |  |
|  | - Are employees required to complete a ladder inspection before each use? |  | - Has each employee who works on a scaffold been trained by a competent person on hazards and procedures used to control hazards? |  |  |  |  |
|  | - Are ladders placed on a flat, secure surface? |  | - Are Toe-boards in place on all working deck? |  |  |  |  |
|  | - Are ladder rails extend at least three feet above top landing? |  | - Are Horizontal and Vertical braces as per manufacturer guidelines? |  |  |  |  |
|  | - Are ladders securely fastened to prevent sleeping? |  | - Are Access ladders secured in place to top rung of scaffold? |  |  |  |  |
|  | - Are aluminum ladders avoided if work must be done around electrical wires/power lines? |  | - Are outriggers in place and foot seated on ground? |  |  |  |  |

| Company: |  |  | Inspection date: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  | Location: |  |  |  |
| Inspected by: |  |  |  |  |  |  |
| S.N | 1.3. General Workplace Housekeeping Inspection Checklist |  |  | Y | N |  |
| 1 | Are Stairways, Passageways, Ladders, Scaffolds, Ramps and Gangways kept free of material, supplies, and obstructions? |  |  |  |  |  |
| 2 | Are materials kept at least 2m (5 ft.) from openings, roof edges, excavations, trenches, sumps, shafts? |  |  |  |  |  |
| 3 | Is there adequate illumination for working? |  |  |  |  |  |
| 4 | Are lamps or light sources working properly? |  |  |  |  |  |
| 5 | Are warning signs in good condition and clearly visible even from afar? |  |  |  |  |  |
| 6 | Are hoses, power cord, welding leads, etc., kept from lying in heavily travelled walkways? |  |  |  |  |  |
| 7 | Are cords, cables and hoses neatly bundled up when not in use? |  |  |  |  |  |
| 8 | Are machine and equipment guards in place and secure? |  |  |  |  |  |
| 9 | Are tools in good condition and stored in their designated location? |  |  |  |  |  |
| 10 | Are storage areas clean, tidy, and organized? |  |  |  |  |  |
| 11 | Are storage racks in good condition? |  |  |  |  |  |
| 12 | Are hazardous substances (Flammable materials, toxic substances) stored in appropriate containers, under appropriate conditions and marked to indicate they are hazardous? |  |  |  |  |  |
| 13 | Are physical barriers and warning signs installed around workplace hazards? |  |  |  |  |  |
| 14 | Are appropriate waste bins available for general waste, recyclable waste, hazardous waste, etc.? |  |  |  |  |  |
| 15 | Is waste (Including hazardous waste) collected regularly? |  |  |  |  |  |

| Company: |  |  | Inspection date: |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  | Location: |  |  |  |
| Inspected by: |  |  |  |  |  |  |
| S.N | 1.4. First Aid/CPR/AED Checklist |  |  | Compliance |  | Findings |
|  |  |  |  | Y | N |  |
| 1 | Is there a written First Aid program or other written guidance on responding to employee injuries at the facility? |  |  |  |  |  |
| 2 | Have employees been trained on First Aid/CPR/AED techniques suitable to the specific workplace hazards present? |  |  |  |  |  |
| 3 | Are employees offered First Aid/CPR/AED refresher courses on first aid skills and knowledge? |  |  |  |  |  |
| 4 | Are First Aid Kits in vehicles or at company facilities placed in locations where they will be readily available when needed? |  |  |  |  |  |
| 5 | Are the contents of First Aid Kits inspected at least annually to ensure that the items are usable and all required items are present in the kit? |  |  |  |  |  |
| 6 | Are universal precautions followed by First Aid providers potentially exposed to blood and body fluids while rendering aid? |  |  |  |  |  |
| 7 | Is an eye wash safety shower available where the eyes or body parts of any person may be exposed to injurious corrosive materials? |  |  |  |  |  |