| Company: |  |  | Inspection date: |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Project: |  |  | Location: |  |  |  |  |
| Inspected by: |  |  |  |  |  |  |  |
| SN | - General Workplace Inspection Checklist |  |  | Compliance |  |  | Findings |
|  |  |  |  | Y |  | N |  |
| 1 | Is a properly sized, inspected and stocked First Aid Kit available on the job site? |  |  |  |  |  |  |
| 2 | Is fall protection selected based on a hazard analysis of the planned work, known hazards and specific work location? |  |  |  |  |  |  |
| 3 | Are all portable cord and plug type electrical tools used with a portable GFCI? |  |  |  |  |  |  |
| 4 | Are flexible cord used on the job site of a properly rated and listed to support the load required? |  |  |  |  |  |  |
| 5 | Is the site cleaned-up at a regular intervals and at the end of shift? |  |  |  |  |  |  |
| 6 | Are aerial lifts inspected prior to use and maintained in accordance with the manufacturer’s recommendations for safe use of the equipment? |  |  |  |  |  |  |
| 7 | Is fall protection equipment stored and maintained in accordance with the requirements outlined in the fall protection program? |  |  |  |  |  |  |
| 8 | Are ladders maintained in good usable condition at all times? |  |  |  |  |  |  |
| 9 | Are walkways kept clear of cords, hoses or materials that could trip personnel? |  |  |  |  |  |  |
| 10 | Are employees using the ladders maintaining 3-points of contact/control while climbing the ladder? |  |  |  |  |  |  |
| 11 | Are warning signs, flags, traffic control devices/ barriers and flaggers in place when working near vehicular traffic? |  |  |  |  |  |  |
| 12 | If required, is the scaffold system secured/ tied to the wall or structure at the proper intervals? (30’ horizontal/24’ vertical) |  |  |  |  |  |  |
| 13 | Are scaffolds used at the work site inspected and tagged after erection and at least every 7 days thereafter by a competent person? |  |  |  |  |  |  |
| 14 | Has each employee who works on a scaffold been trained by a competent person on hazards and procedures used to control hazards? |  |  |  |  |  |  |
| 15 | Are portable fire extinguishers fully charged, inspected monthly and serviced annually? |  |  |  |  |  |  |
| 16 | Are skylights and roof openings covers guarded? And constructed to hold at least 200 pounds? |  |  |  |  |  |  |
| 17 | Are floor and wall openings guarded by a cover, guardrail or equivalent (except at in trance to stairways and ladders)? |  |  |  |  |  |  |
| 18 | For multi-story work sites is water available on every floor, and located as close as practicable to areas where employees are working? |  |  |  |  |  |  |
| 19 | Are only authorized and trained personnel permitted to use welding, cutting or brazing equipment? |  |  |  |  |  |  |
| 20 | Are cylinders located or stored in areas where they will not be damaged by passing or falling objects or subjects to tempering by unauthorized persons? |  |  |  |  |  |  |
| 21 | Is at least a 10-foot safe working clearance from overhead power lines maintained by workers or cranes? |  |  |  |  |  |  |
| 22 | If using cranes, are precautions in place to not fly loads over workers or occupied structures? |  |  |  |  |  |  |
| Remarks: |  |  |  |  |  |  |  |